## Identification
619 Lower Plenty Road, Yallambie, Victoria 3085, Australia
Tel: +613 9433 2220 Fax: +613 9432 1835
|  | E-mail: acds@arpansa.gov.au Web: www.arpansa.gov.au |  |  | FY (20xx/xx)
2000-01-01
Audit Data Collection Sheet |  | Filled by ACDS | Facility to fill | Select from list
Audit Information
Audit Date |  | 2019-12-06
ACDS Audit Number |  | ACDS-kV-112233
ACDS Facility ID |  | SE
Facility Information
Radiation Oncology Organisation |  | KM
Radiation Oncology Service |  | TNP
Radiation Oncology Facility |  | SE
Facility Representatives |  | Recipient of Report |  | Site Contact
Title |  | Mr |  | Mr
First name |  | Bart |  | Apu
Last name |  | Simpson |  | Nahasapeemapetilon
Phone Number |  | 03 555 1234 |  | 03 555 3210
Email |  | example@example.com |  | test@example.com
Physical Address of Facility
Location / Building |  | SE
Street Address |  | 1 Random Street
Suburb |  | Springfield
State |  | VIC
Postcode |  | 3333
Reporting Address
Location / Building |  | SE
Street Address |  | 1 Random Street
Suburb |  | Springfield
State |  | VIC
Postcode |  | 3334
Treatment Machine
kV Unit Manufacturer |  | Xstrahl
kV Unit Model |  | Xstrahl 100
Serial Number |  | 413
Local Name: |  | SSRT
Tube Insert Type: |  | 100kV Metal ceramic X-ray tube 30deg tungsten target
Serial Number: |  | n/a
Reference Dosimetry
Protocol |  | TG-61
How was NK determined? |  | Calibration by ARPANSA
Comments
kV superficial treatments
Reference Dosimetry
Protocol |  | TG-61
Reference chamber |  | PTW 23342 SN 2503
in-air/in-phantom |  | in-air
Reference depth |  | n/a
Comments
Please use this section to describe your Reference Cone Dosimetry Conditions. E.g. you may have different Reference Cones for different Nominal Beam energies
Reference Cone Dosimetry Conditions
Photons
Beam ID | Nom. Energy | Meas. SSD | Meas. Depth zref | Cone Geometry | Cone Geometry | Closed/Open | Cone End | DOSP at SSD,
| (kVp) | (cm) | (cm) |  |  | Cone | thickness (mm) | z = 0? (y/n)
|  |  |  | Shape (select) | (cm/cm2) |  | (if applicable) |  |  | Any Additional Comments
F1 | 30 | 15 | 0 | Circular | 4 | Open |  | y
F2 | 50 | 15 | 0 | Circular | 4 | Open |  | y
F3 | 80 | 15 | 0 | Circular | 4 | Open |  | y
F4 | 95 | 15 | 0 | Circular | 4 | Open |  | y
F5 | 100 | 15 | 0 | Circular | 4 | Open |  | y
|  |  |  | Select Type |  | Closed
|  |  |  | Select Type |  | Closed
|  |  |  | Select Type |  | Closed
|  |  |  | Select Type |  | Select
|  |  |  | Select Type |  | Select
Please use this section to describe the 3 Cone/Applicators which you would like to be audited - Reference Cones are to be Prioritised, followed by most clinically relevant
Please note that the ACDS is currently unable to perform absolute dosimetry for cones less than an equivalent Field Size diameter of 4 cm, due to stem uncertainties
|  | Cone 1 |  | Cone 2 |  | Cone 3
| Cone/Applicator ID's: | 3 cm Diameter |  | 5 cm Diameter |  | Please type
|  | Shape: | Circular | Shape: | Circular | Shape: | Select Type | Note: After selecting each Shape type, please press F9 if the cells below do not automatically update
|  | Open or closed: | Open | Open or closed: | Open | Open or closed: | Select
|  | SSD (cm): | 15 | SSD (cm): | 15 | SSD (cm):
|  | Field size diameter (cm): | 3 | Field size diameter (cm): | 5 | Select Shape above! |  |  | Please Describe Beam Quality per Nominal Beam Energy Here
Beam ID | Nom. Energy | DOSP* at SSD, | Dw,z=0 Dose Output** | DOSP at SSD, | Dw,z=0 Dose Output | DOSP at SSD, | Dw,z=0 Dose Output |  | SCD* | Field size at SCD** | HVL | HVL | HVL | HVL
| (kVp) | z = 0? (y/n) | Gy/min | z = 0? (y/n) | Gy/min | z = 0? (y/n) | please select |  | (cm) | (cm) | nominal (mm Al) | nominal (mm Cu) | measured (mm Al) | measured (mm Cu)
Any Additional Comments
F1 | 30 | y | 6.6 | y | 6.867 |  |  |  | ~100 | 2 | 0.4 |  | 0.19 | -
F2 | 50 | y | 3.42 | y | 3.845 |  |  |  | ~100 | 2 | 1 |  | 0.81 | -
F3 | 80 | y | 3.69 | y | 4.425 |  |  |  | ~100 | 2 | 2 |  | 2.01 | -
F4 | 95 | y | 4.27 | y | 5.188 |  |  |  | ~100 | 2 | 3 |  | 2.61 | -
F5 | 100 | y | 3.08 | y | 3.804 |  |  |  | ~100 | 2 | 4 |  | 4.02 | -
*DOSP is the dose output specification point i.e. the point at which the output is defined | [8 empty] | *The souce-to-chamber distance used for HVL measurement
**Please enter your latest absolute Reference Dosimetry data for each cone/beam combination | [8 empty] | **Approximate field size used for HVL measurement